⚪ Ultrahuman M1

Updated

October 4, 2025 What is the Ultrahuman M1? �� How It Works �� Types Of Sensors & Regions

�� Ultrahuman App Features

�� Why People Use It

�� What

s In The Box

@️

�� General FAQs

�� Quick Summary Of Queries/ Cases

Tags

Debugging M1 issues

Invalid Readings

Failed To Start

Expired Prematurely

Baseline Issues

Unable To Scan

Multiple Accounts Scan

Applicator Fail

Sensor Discomfort Cases

M1 Live Missing Data/ Frequent Disconnection

Non-Live Sensor Missing Data

Sensor Knock-Off Cases

Whitelisting

Libre 1, 2, or Pro In The US

Misc

US M1 Sync Issues

Sensor Ops

’

Ultrahuman M1 1

India

Libre 1 & Libre Pro)

EU/UK

Libre 2

UAE

USA

M1 Lite

Libre 2

Libre 3 Plus)

What is the Ultrahuman M1?

�� Key Features of M1 Lite �� Regional Compatibility �� Ideal For

⚡ Activation

�� Subscriptions

�� Identification

�� Pricing

�� Refund/ Cancellation Process ��  Common Queries/ Cases   Tags

�� The Ultrahuman M1 is a wearable glucose monitoring system designed to help users optimize their metabolic health. It works by continuously measuring glucose levels from the interstitial fluid using a CGM (Continuous Glucose Monitor) sensor that is worn on the back of your arm. The data is synced with the Ultrahuman app, where it’s analyzed and interpreted.

It’s not a medical device (like CGMs used by diabetics), but a consumer-grade tool for wellness tracking.

Here’s a breakdown of how it works and what it offers:

�� How It Works

The device uses a tiny filament inserted just under the skin (painlessly, for most people).

It tracks your glucose levels 24/7, updating every few minutes (Libre 3 Plus) or when scanned.

You scan the sensor with your phone (or it auto-syncs, depending on the version) to retrieve the data.

�� Types Of Sensors & Regions

️

(

(

)

(

(

)

Ultrahuman M1 2

The Ultrahuman M1 utilizes Abbott's FreeStyle Libre continuous glucose monitoring (CGM) sensors. Specifically, it integrates with the FreeStyle Libre 1, Libre 2, Libre 3 Plus, and Libre Pro sensors, depending on the region and availability.

These sensors are FDA-approved, medical-grade devices that measure glucose levels in the interstitial fluid. Ultrahuman packages these sensors in their original form, including additional accessories like alcohol wipes and protective patches.

India: Libre 1 & Libre Pro

UK/EU: Libre 2

UAE: Libre 2

USA: Libre 3 Plus

| Device | Scan (NFC) Needed? | Bluetooth (Live Updates)? |
| --- | --- | --- |
| Libre 1 | Yes (NFC scan) | No |
| Libre 2 | Yes (NFC scan) but can also send alerts via Bluetooth | Limited |
| Libre 3 Plus | No scan needed | Yes (full live via Bluetooth) |
| Libre Pro | Yes (NFC scan) | No |

�� Ultrahuman App Features

Real-time glucose feedback: See how your body responds to food, workouts, sleep, and stress.

Glucose score: A simplified number to help interpret the quality of your metabolic

response.

Actionable insights: Personalized recommendations to improve energy, focus, and

metabolic flexibility.

Food and lifestyle tracking: Correlate specific meals or habits with glucose spikes or dips.

�� Why People Use It

Fitness optimization: Athletes use it to fine-tune performance and recovery.

Fat loss: Helps users avoid glucose spikes that can hinder fat metabolism.

Health monitoring: Offers insights, even for non-diabetics.

Biohacking: Used by enthusiasts looking to optimize longevity and cognitive performance.

�� What’s In The Box

A CGM sensor (Ultrahuman partners with Abbott FreeStyle Libre for the hardware)

Ultrahuman M1 3

3 hypoallergenic protective skins for the CGM

An alcohol wipe

�� General FAQs

How do I apply my sensor?

➡️ The sensor must be applied when you're completely fasted (early morning), and you must also avoid food and drink during the 60-minute warming-up window. This is

necessary so that the sensor can accurately calibrate your baseline. Here are some

extra tips that can be helpful:

Wait for the alcohol wipe to dry completely before applying the sensor. The

moisture might prevent the adhesive from sticking to the skin. Waiting 3- 4

minutes before applying the sensor after wiping the area is a must.

Shave the area of the application completely so that the sensor adhesive can

stick to the skin. Hair can cause the sensor to fall off.

There should be no tattoos, scars, or stretch marks in the application area, as this

can affect the calibration.

Video for M1:

https://www.youtube.com/watch?v=fX8qYdUG2b4&ab_channel=UltrahumanOf

ficial

Video for M1 Live:

https://www.youtube.com/watch?v=WcbF2uQoGSQ&ab_channel=Ultrahuman

Official

We have an onboarding call every Wednesday at 8:30 pm and Friday at 3:00 pm, and

we would recommend that you join that. You can book your slot for the call here.

Does my device need to be NFC-enabled to pair the sensor?

Ultrahuman M1 4

➡️ Yes! �� It is essential that your phone is NFC-enabled. If not, you cannot pair the

sensor with your phone.

What's the best time to put on the sensor?

➡️ We've noticed that installing the sensor in a fasted state (for 4 hours or more, or soon as you rise in the morning ��) improves the baseline accuracy of the sensor.

I have successfully set up the getting-started process, but no data is available on the Ultrahuman App.

➡️ Your glucose sensor takes 60 minutes to warm up after activation. Glucose data

starts being recorded after warm-up. You will receive a notification on the

Ultrahuman app after your sensor is warmed up.

Can I fly with the sensor? Will there be any issues at security?

➡️ You can fly with the sensor without a worry! It doesn’t get detected during security check and isn’t a problem at all ✈️ If you’re carrying the sensor in your luggage, be

sure to carry it in your checked-in baggage!

Is there a needle in the sensor? Does a needle stay in my skin?

➡️ Not really �� The CGM applicator comes with a hollow needle that is used to make a tiny incision in your skin (it doesn’t hurt more than an ant bite! ��), after which a

thread-like filament is safely placed and remains under your skin for the period you

have the sensor on. Once it’s on, you’re free to exercise and move. You probably

won’t even feel it’s there.

Does it hurt while putting on the sensor?

Ultrahuman M1 5

➡️ Not more than an ant bite. �� It's quite normal to feel some discomfort during the first day or so, as you are getting used to the sensor.

If you feel pain or discomfort, contact the Ultrahuman team through our in-app chat

service. We can help you decide if you need to remove the sensor altogether and

reapply a fresh one.

How long does the sensor take to calibrate?

➡️ Your sensor might take 24 hours to calibrate and will typically become more accurate the longer you wear it. Some sensors might take 2 or more days to calibrate. So, in

the beginning, it's better to pay attention to the glucose spikes and valleys (i.e., your

glucose trend) instead of the absolute numbers. 〰️

Do I need to keep NFC and Bluetooth ON at all times?

➡️ Yes, NFC needs to be switched on if you’re an Android user. ✅

If you’re on iOS, the NFC is already enabled. Bluetooth need not be switched on in

this case (except Libre 2 and Libre 3 Plus).

How often does the sensor need to be scanned?

➡️ The frequency of scanning is up to your discretion.

However, it is recommended to scan the sensor at least once every 8 hours to ensure

there are no gaps in data, mainly for the Libre 1.

If someone else taps their NFC phone on my sensor, will that mess up my data?

➡️ This won’t mess with your data in the sensor, but they will read your data from their NFC phone. �� Do make sure each sensor is linked to one email ID only!

How do I log my food?

Ultrahuman M1 6

➡️ You can click on the '+' button on the bottom right corner of the Metabolism tab to log in your food. You may also do the same to log in your activity, stress, fasting,

and/or other events.

What will happen if I don't log my food and activity?

➡️ Nothing! �� As long as your glucose data syncs, you will see your Metabolic Score, which gives the state of your metabolic health in real-time.

However, it is advisable to log your food and activity on a daily basis so that you get a

better understanding of what kind of lifestyle choices are working better for you. The

platform calculates your glycemic responses to your food, activity, etc, in terms of a

score to nudge you towards better lifestyle choices.

My glucose sensor is showing faulty values.

➡️ Although very rare, your glucose sensor might report incorrect values, especially

during the first day. This happens because your sensor is adjusting to your body's

interstitial fluid. If you feel that your sensor has been showing incorrect values for a

long period of time (>1 day), then contact us through the in-app chat service. We’ll be

happy to fix it! ��

What if the sticker gets peeled before the 14 days?

➡️ We include 3 patches with every sensor purchase. You can also buy multiple patches from the Ultrahuman website. You may apply a new patch in case the old one comes

off.

What if my sensor comes off?

➡️ If your sensor becomes partially or fully dislodged from its original place, DO NOT try to push it back in. Detach the sensor from your skin fully before replacing it with a

new sensor.

Can the sensor hold up against all skin types?

Ultrahuman M1 7

➡️ Yes, the sensor is compatible with all skin types. �� The patch used to cover the

sensor is water/sweat resistant. So, the sensor stays intact. Therefore, it is

recommended that a patch be applied at all times.

Will I disturb the filament when I change the performance patch?

➡️ Not if you’re gentle and careful. �� The adhesive on the device is pretty strong, so in most cases, as long as you are a little careful while changing the performance sticker,

you’ll be okay.

Can I take the sensor off every night?

➡️ Nope!  Once applied, the sensor should not be taken off for the 14-day period

unless you experience any pain or discomfort.

Why do glucose readings from my continuous glucose sensor not match those of the finger-prick glucometer?

➡️ Both finger-prick glucometers and CGMs have some error margin. The gold standard for accuracy is a blood draw measurement, and both finger sticks and CGMs have

error margins (MARD) to that standard. Finger sticks tend to be in the range of 5-10%

MARD (Mean Absolute Relative Difference), while the CGM has a MARD of about 9.2

%.

Additionally, CGM measures your interstitial fluid, which has a 10-15 minute phase

shifted delay vs a finger-prick blood reading. When you are on a rise or a fall in

glucose levels (as opposed to flat and steady), the difference between finger-prick

glucometer and CGM measurements will be more pronounced. You should only

compare readings in a fasted state.

How do I replace my sensor/patch?

Ultrahuman M1 8

➡️ Peel off the Ultrahuman patch first (if you have it on). Then gently start peeling off

your sensor, starting from the edges, until it comes off. If you are having difficulty

peeling off a sensor, you can loosen it by applying vegetable oil or baby oil to the

adhesive present on the edges of the sensor, 10 minutes before replacing the sensor.

When you switch to a new sensor, make a note of the best time to apply it. We've

noticed that installing the sensor in a fasted state (for 4 hours or more, or as soon as

you rise in the morning) improves the baseline accuracy of the sensor.

Or watch this video:

https://s3-us-west-2.amazonaws.com/secure.notion-static.com/f1e4313a-2822-4eb9-b 356-1e0f522ae89d/Sensor_Removal_Graded__animation.mp4

How will the app detect the new device?

➡️ After applying the new sensor (in a fasted state, we hope ��), just scan it for the app to detect the new sensor!

Once the sensor is removed, does it bleed?

➡️ No. �� The Ultrahuman M1 measures your glucose levels through the interstitial

fluid. There is generally no bleeding while removing the sensor.

Does the sensor automatically get deactivated on the last day?

➡️ Yes. When the sensor expires on the 14th day, the app nudges you and waits for a period of 48 hours to scan and retrieve any missing glucose data. Once done, you

will see a notification on the Ultrahuman app that your sensor has expired and is

ready to be replaced. You can follow the instructions for the same.

Can I wear my sensor while bathing, swimming, or surfing?

➡️ Yes, yes, and yes! Your glucose sensor is water-resistant

So you can shower, swim, and surf while wearing your sensor.

Ultrahuman M1 9

Why did my glucose spike during exercise?

➡️ Spikes are expected and normal during high-intensity workouts. Your body releases stored glycogen in your liver and muscles to power your workouts. You may also see

an increase in glucose during your body's reaction to stress. For low-intensity

workouts, your body uses circulating glucose, so you may see your glucose levels

fall.

Why do I see the “moved too quickly” error?

�� The first scan usually takes about 3-4 seconds (longer than usual) as it fetches

historic data for a possibly long duration.

Can I get my glucose data?

➡️ Of course! To export your glucose data, go to the Profile tab on the app > CGM

Settings > Export Glucose Data. We’ll send you an email with all your glucose data

segregated sensor-wise, in a CSV format.

My sensor was damaged in transit. What do I do?

➡️ In the rare event that the sensor is accidentally damaged in transit, we will happily

replace it with another unit of the same device. Please note that the issue has to be

communicated to us within 48 hours of delivery of your sensor via an email to

feedback@ultrahuman.com with a picture of the damaged product.

Can I apply the sensor if I have sensitive skin?

➡️ Please work with your healthcare professional during the use of the third-party

continuous glucose monitor device (CGM). Particularly, if you have sensitive skin or a

skin condition, or have suffered a skin injury during the use of the CGM. In case of

any skin rashes, irritation, allergies, or injuries as a result of the use of the CGM

and/or the adhesive patch, please inform us and/or your healthcare professional

without any delay.

Can the Ultrahuman platform be used for the treatment, diagnosis, prevention, or

alleviation of diabetes or any other disease or disability?

Ultrahuman M1 10

➡️ Ultrahuman’s products and services contain general information for users to improve their metabolic fitness and general wellness. We do not intend to substitute

professional medical opinion on the treatment, diagnosis, prevention, or alleviation of

diabetes or any other disease or disability. Always consult with a doctor or qualified

healthcare professional about any health condition and/or concerns that you may

have. Please do not disregard/delay seeking professional medical advice or treatment

because of information read on or accessed through our products or services.

�� Quick Summary Of Queries/ Cases

Scan not working (they click on scan the sensor, scan it, but the reading/ graph isn’t getting updated/ sensor is not being recognized).

↗️ Phone restart.

↗️ Toggle on NFC from phone settings for Android.

↗️ Ask which phone device they are using, Google search the NFC location in that device, and ask them to scan from there.

↗️ Scan from the front for iOS and for Android, ask users to remove the back cover, and scan.

↗️ Some quirky pointers

If the user is using a Samsung phone, ask them to take off their case and use the

back side of their phone to scan the sensor. Sometimes the case’s thickness blocks

the NFC from working properly.

There seems to be a problem with the OnePlus 9R phone’s NFC. Just confirm the

phone model once before proceeding with troubleshooting problems.

Tags:

sensor_scan_not_working

Baseline Errors (when users feel their readings are too high/low in general, or when

comparing with a finger prick)

↗️ Users might notice a difference in their glucometer reading and their sensor reading on the app.

↗️ The CGM reads data from the interstitial fluid, so there's a lag of 15- 20 min. When

comparing the readings with a glucometer, always compare it with +20min readings from the sensor. Please note that you do not have to take another glucometer reading when

comparing it with the CGM.

E.g., a reading from the glucometer at 12 pm should be compared with 12:20 pm readings from the sensor!

Ultrahuman M1 11

↗️ It's important to compare using a fasted glucometer reading as an unfasted reading can be dynamic compared to the sensor reading.

The glucose flows from the gut > blood (glucometer measures glucose from here) >

Interstitial fluid of the cells(CGM measures glucose from here), hence by the time your

glucose varies in your blood, it will take time to vary in the interstitial fluid, and each

person's body reactions are different.

↗️ Some sensors can calibrate to a higher or lower baseline based on the application

position (probably a lack of interstitial fluid in the area). For such cases, we have devised a method to help calibrate your sensors from the backend. We can use your

glucometer/blood test readings as a reference and thereby adjust your baseline. Your

readings would be a lot more in tune with what you're expecting once this is done.

↗️ You can calibrate your sensor directly from the app. To do this:

1. Take a glucometer reading in a fasted state (4+ hours after a meal, OR right after you wake up in the morning).

2. Note the reading and the exact time it was taken.

3. Scroll down the metabolism tab and click on 'More'.

4. Select CGM Calibration.

5. Start calibration and input the glucometer value.

↗️ We can calibrate the sensor using the fasted glucometer on the Dashboard. Check for the sensor reading 20 mins post-fasted glucometer reading. Head to CGM stints > Filter the user > Edit CGM Stints > add the offset value.

Tags:

sensor_glucometer_check

Ultrahuman M1 12

sensor_baseline_error

sensor_baseline_replacement

Invalid Readings

↗️ CGM stints will show readings like (0-0-8-0-5-0-0-3-6-4-1-23-1-0-2-0-13-0-) or

(1648-1648-1648-1648-0-0-0-0-0-0-0-1648-1648-1648-1648-1648).

↗️ CGM stints will show readings below 40 & above 500.

↗️ If the sensor is throwing invalid readings in the first 24-hour period, we ask the user to wait for the first 24-hour window to get over, and then check.

↗️ If invalid readings persist consistently for over 2-3 hours, issue a replacement.

Tags:

sensor_invalid_readings

sensor_invalid_reading_midway

Sensor scans over 8 hours

↗️ For the Libre 1 sensor - check the scan timings on Sensor states, if scan timings have a difference of more than 8 hours, the readings will be missing.

Well explained case:

Tags:

sensor_how_many_times_to_scan

sensor_scan_over_8_hours

Pressure-induced errors

Ultrahuman M1 13

↗️ This mainly happens because the sensor has an external pressure on it, and suddenly, you notice a dip in the readings. Usually, the main reasons for this are the sleeping

postures, which usually occur during the night.

↗️ We can users to log this as an error, and this won't affect their Metabolic score.

↗️ If the user is super super agitated because of this > we can ask the tech team to remove the spike (on the side, don’t tell the user that this is possible unless tech-oncall confirms first).

Tags:

sensor_sudden_spike/dip

sensor_pressure_induced_error

Multiple accounts/apps scan

↗️ We will see that the age does not start from 0.

↗️ In multiple accounts scan cases, filter using the sensor UID on sensor states, and see which email ID was used to scan the sensor initially.

Tags:

sensor_multiple_users_Q

sensor_multiple_accounts_scan

sensor_onboarding_faq

Ultrahuman M1 14

Sensor expired prematurely

↗️ Sensor age going back to 0 or not increasing/updating on sensor states, even after

scanning.

↗️ User sees “Sensor Expired” on their screen before the designated 14-day period.

↗️ User sees “Unknown Error” on their screen just after scanning.

Tags:

sensor_expired_prematurely

Failed to start

↗️ Sensor age on sensor states will not fire up from 0, or will say “NotActivated”.

↗️ Sensor going through the 60-minute warm-up state over and over.

Tags:

sensor_failed_to_start

First 24 hours

↗️ You can see the age in sensor states. If the sensor is within 24 hours, you can expect there to be missing/erratic readings.

↗️ This is normal and happens because the sensor is calibrating in its first 24 hours.

↗️ The readings stabilise after this period.

↗️ In case they don’t, it may be any of the 1-8 issues mentioned above.

Tags:

sensor_first_24_hours

Sensor Data

↗️ Route to Performance Coaches.

↗️ If you are deep in conversation with the user, check with the Coaches for the right

response.

Tags:

sensor_app_usage_Q

readings_deep_dive

Knock-Offs

↗️ Sensor fell off randomly or due to any activity before the 14-day period.

↗️ If the user doesn’t have UHX, don’t replace it and let them know about UHX for the

future.

↗️ If the user has UHX, it’s okay to replace till the number of replacements is 50% of the number of sensors purchased. Beyond this, refund the user for the sensor

Tags:

Ultrahuman M1 15

sensor_knock_off

Applicator Fail

↗️ Sensor doesn’t get released from the applicator

↗️ ”I have been trying to launch the sensor for a while now, but it is stuck.”

↗️ Ask for a photo for your record, but nothing can be done in this case; Please process a replacement.

Tags:

sensor_applicator_fail

Sensor Application

↗️ Hey! Attaching a link for a YouTube video on the correct application of the sensor:

https://www.youtube.com/watch?v=fX8qYdUG2b4, hope this helps! ��

Tags:

sensor_application_help

sensor_onboarding_faq

Sensor Removal

Hey! Attaching a link for a YouTube video on the removal application of the sensor:

https://www.youtube.com/watch?v=fX8qYdUG2b4 , hope this helps! ��

Tags:

sensor_removal

Metabolic score

↗️ What is the Metabolic score? It is an overall indicator of metabolic health. The metabolic score is a 0-100 range score that's based on Glucose variability, average glucose, and time in target metrics. This score is reset to 100 (max) at midnight and is based on daily lifestyle activities and the body’s response to them.

↗️ Where will the Metabolic score show in the timeline? The metabolic score is denoted over the timeline on the ‘Metabolism’ tab of the UH app.

Ultrahuman M1 16

Ultrahuman M1 17

️ Tags

sensor_baseline_algo_change - When we toggle off the algorithm in CGM stints.

sensor_enquiry - How does the M1 program work?

sensor_enquiry_int - Users ask if we ship outside India, the UK, the UAE, and the EU.

sensor_diabetic_user - When a diabetic user comes with any queries (secondary tag).

sensor_diabetic_enquiry - When a diabetic lead comes with any queries (secondary tag).

Ultrahuman M1 18

sensor_patch_request - When the users request additional patches.

sensor_airport_security - Users ask if they can fly with the sensor?

sensor_app_usage_Q - App Features.

sensor_expiry_date - When the user asks till when they can use the sensor, whether the sensor has an expiry date or not.

sensor_expensive - When a lead enquires about the product and says they can’t go ahead with it because of the prices.

sensor_threshold - When the user asks if they can do certain activities (such as swimming)

with the sensor on. Most of the questions revolve around the water threshold only.

sensor_disposal - What’s the correct way to dispose of the sensor?

sensor_environmental_impact - Users ask if there is a recycling program for the used sensors.

sensor_user_error - When a user accidentally presses the applicator before placing it on their arm.

sensor_refund - When a refund is initiated.

m1_feedback - When a user shares feedback about the M1 sensors.

sensor_NFC_compatibility - When a user purchases a sensor and realizes they don’t have an

NFC-enabled phone.

sensor_onboarding_call_link - When a Cyborg asks for the link.

sensor_type_difference - When a cyborg asks about the differences between the Libre, the Libre Pro, the Libre 2, or the Libre 3.

sensor_expiry_replacement - When we replace a user’s sensors because they’ve expired.

m1_live_missing_data - When a user has missing data and it’s not a compression error/invalid

readings.

pro_replaced_by_libre - When a user asks to be sent a Libre 1 sensor instead of the Libre Pro.

sensor_food_score_question - Questions pertaining to the food score and why/how it is so?

sensor_food_score_error - Error in determining food score.

sensor_food_logging_feedback - When users share feedback pertaining to the food logging

process on the app.

factors_affecting_metabolic_score - How is the metabolic score calculated?

sensor_account_transfer - User wants to transfer data from one account to another.

sensor_account_deletion - When a user wants us to delete their account with us.

sensor_subscription_pause - When a user requests a pause in the monthly subscription.

M1_logistics_ETA - When users ask when their CGM will be delivered.

Ultrahuman M1 19

Debugging M1 issues

Invalid Readings

What the user might see - Reading stuck on the same value for extended periods, no glucose graph.

What would Stints look like? Head over to Internal > CGM Stints on the Dashboard. The values would be critically low (<40) or very high (>400).

We can replace the sensor if the invalid readings have been continuous for 6+ hours.  If the user asks why it happens, you can let them know these are rare manufacturing-related

defects.

�� Exception: If the sensor is within the first 24 hours, we can let the user know that the sensor takes 24 hours to calibrate, and the readings should stabilise post that.

Failed To Start

Ultrahuman M1 20

A scenario in which the user keeps seeing the 60-minute countdown timer in the app after each scan. It is a continuous loop.

Head over to Internal > Sensor States on the Dashboard. This is what the states will look like. Once the user has seen the countdown 2-3 times, we can replace the sensor.

Expired Prematurely

What the user might see - Reading stuck on the same value, the screen showing no updates after scanning.

We can replace it directly in such cases.

Ultrahuman M1 21

Baseline Issues

The user might reach out, saying the readings are too low/high. If the stints and states look fine. You can let the user know it could be a baseline calibration issue, and it can be rectified using a manual calibration.

1. Ask the user if they have compared the reading against a glucometer. If they say they don't have one, we can send them one (If they are in India or the UAE). If they are from any other country, we can ask them to purchase, and we can reimburse them. This is only if the

sensors have been purchased from us. Please verify the purchase before issuing a

glucometer

2. Ask the user for a fasted glucometer reading and the time at which it was taken.

Go to Lifetime data > Look at the Filtered trend and what the reading was 20 minutes after the user's glucometer reading timestamp.

Ultrahuman M1 22

If there is a difference of more than 15 points. Go to CGM Stints > User's email ID > Latest stint > Edit and calibrate accordingly.

If the difference is within 15 points, you can let the user know that a deviation of within 15 points is normal. And that their sensor is aligned.

Post calibration, if the user wants to compare, the glucometer reading need not be fasted. No need for calibration if the sensor is in the first 24 hours.

�� Example: If a user says they took a fasted glucometer reading at 9:35 am and it was 80, you will check the Filtered trend for 20 minutes post 9:35 (Or the closest relevant

time stamp) and accordingly edit the values by going to CGM Stints > User's email >

Edit.

In this case, since our sensor is 40 points ahead of the glucometer, we will adjust the reading by -40.

Unable To Scan

This is when a user might not be able to scan the sensor. What they experience: No response from the phone/app upon scanning the sensor.

Ultrahuman M1 23

If on iOS

Copy their external ID/email ID and search for it on Slack, usually it shows up on the channel #M1-Notifications.

You can see various errors. Please refer to this message.

If the error is “System resource unavailable”, that indicates an issue with the phone's NFC. A restart will help.

If on Android

Toggling NFC on/off and trying a restart will help.

For both OS’s, make sure there is no cover on the phone getting in the way of the scanning.

If even after trying all the troubleshooting steps and making sure there are no hits on Sensor States. If the sensor is still unresponsive, we can replace it.

�� As a rule of thumb, please always run these 2 checks before issuing sensor

replacements:

1. Whether it is an internal sensor (can check on Kustomer attributes/ stints, also

check CGM Sensor Inventories).

2. We have not replaced more than 50% of the sensors quantity-wise for the user as

opposed to how many they have purchased (we can make exceptions based on the

user and the situation).

Multiple Accounts Scan

This happens when the user is attempting to scan the sensor using an email ID different from the one on which the sensor was activated.

The users will start seeing the message shown below on their app.

In some cases, the scan goes through, but the user sees nothing on the app. You can figure it's a multiple accounts scan case by looking at states and seeing multiple email IDs, or the age would have started from a number other than 0. Please refer to this video. We can then migrate the sensor to any email of the user's choice.

�� Here is a video with the steps. Since the sensor UID is the common denominator,

filtering using that shows us all the email IDs that are being used to scan the sensor.

Ultrahuman M1 24

Ultrahuman M1 25

Applicator Fail

Users might reach out saying the pin is missing from the applicator, or they might accidentally trigger the applicator before it is placed on the arm. It is not possible to apply the sensor post this. Ask for photos and replace.

Sensor Discomfort Cases

This is when a user has reached out, saying they are experiencing any sort of discomfort due to the sensor. This could range from rashes, swelling, bleeding, pain, numbing, and tingling sensations in the arm.

Ask if the pain/discomfort has increased/reduced since the sensor was applied.

If they say the pain is unbearable, ask them to take the sensor off.

Ask them to rate the pain on a scale of 1-10. If it's in the higher range, 7-10, we can offer a replacement right there.

For all discomfort cases, it is important to subtly ask if the user is willing to wait for a few more hours to see if the pain goes down.

Make the entry in the M1 discomfort sheet

Ultrahuman M1 26

�� In India, we can connect them to our Dermat.

Contact details

Handle these cases very, very carefully.

We need to ask the user for these details:

Email ID

Images of the area

DOB

Full name

Phone number.

M1 Live Missing Data/ Frequent Disconnection

Users who receive the Libre 2 from us may reach out, saying their sensor has disconnected from the app, or they have to manually scan to get their readings. There isn’t much we can check from our end for such cases.

We can run the following checks:

Bluetooth is on at all times.

Our app is open in the background at all times.

Battery optimisation is off

All necessary permissions are granted to the app.

The phone is close to the sensor.

Location services are enabled.

Once this is done, we can ask the user to observe the behaviour for a couple more days.

Non-Live Sensor Missing Data

Users in India might reach out, saying they are seeing a gap in their readings. In this case, please check the Sensor Stints and States. If Stints look okay (sometimes there can be brief invalid readings leading to gaps in the graph), check for the scan timings on on States.

The user is required to scan the sensor at least once every 8 hours (only for non-live sensors; For live sensors, they can scan if they have disconnected from the app).

Ultrahuman M1 27

Here, the user has been scanning the sensor every 1-2 hours.

In this case, the last scan was at 9:36 pm and the next scan was at 7:02 am, which is a gap of 10 hours. Which is why the user has data from the last 8 hours, but not from the first 2 hours after the first scan.

Ultrahuman M1 28

Ultrahuman M1 29

�� We can send the Sensor_Scanning macro to users in such cases.

Sensor Knock-Off Cases

Knockoffs are when the sensor gets dislodged from the user's arm. This could happen if the sensor was not applied properly, if it faces some impact or due to excessive sweating.

Always ensure the user is aware that -

The area of application has to be shaved.

They have to wait for the alcohol wipe to fully dry before applying the sensor.

Ensure the black cover patch is securely adhered to the sensor.

We can replace it if the user has UltrahumanX. If they don’t, please send them the

Non_UHX_Knockoff macro.

�� You might face slight resistance, but this is one area where we cannot make

exceptions.

Whitelisting

In some cases, users might see a Lite blocker even if they have purchased the sensors from us. This is an issue that usually happens with users in Europe.

In such cases, we can ask for the purchase email ID and verify the purchase using the Europe orders sheet.

Figure out where the user is from the timezone shown. We can also check on Shopify EU/UK. Once you have verified the purchase, we can whitelist the stint.

CGM Stints > User's email/external ID > Mark sensor as “M1 live”.

Post this, we can ask them to kill and reopen the app.

Ultrahuman M1 30

�� Walkthrough

Libre 1, 2, or Pro In The US

�� These are cases where Indian users have taken the sensors purchased in India to the US.

The only sensor we officially support in the US is the Libre 3 Plus, which cannot be scanned directly with our app. Hence, there is no scan button shown to users in the US.

Ultrahuman M1 31

This is an issue for folks with a non-Libre 3 Plus sensor in the US, as they are unable to scan their sensor.

We can create a stint for them in such cases, to “tell” the app that the user has a non-Libre 3 Plus sensor, post which they should start seeing the scan button.

�� Copy email ID > CGM Stints > New CGM stint > Paste email ID > Sensor type: “Libre 1” > Enable Algo.

Walkthrough

Misc

The app gives you a disclaimer stating that the readings from the CGM are not to be used for the management of diabetes. Users can only proceed with scanning the sensor once they have accepted the T&Cs.

�� Reference video.

Ultrahuman M1 32

US M1 Sync Issues

Ultrahuman M1 33

�� In the US, we use the Abbott Freestyle Libre 3 Plus. The Libre 3 Plus does not have a direct connection with our app, instead, it sends data to the Libre 3 Plus app, from

where we read the data using our integrations provider, Terra.

Libre 3 Plus sensor > Libre 3 Plus app > Terra > The Ultrahuman app.

The flow of connecting the 2 apps is made clear by our app, and we don’t get any queries about this. The primary query could be centred around a delay in data sync/missing data.

Troubleshooting:

Check whether the integration is switched on from here.

Check whether the user is keeping the Libre 3 Plus app running in the background at all

times.

Check whether the phone and sensor are in close proximity to each other.

Check whether his data is coming under the Libre view dashboard (VERY IMPORTANT).

Try a manual sync from here and check if the user can see his missing data.

Check if CGM stints on our dash show the most recent readings (20 min lag as per US time is expected)

�� Creds for the Libre View Dash:

cyborg@ultrahuman.com

Password: Ultra@human#25

�� Manually syncing data walkthrough.

Checking the data on the Libre Dash walkthrough.

If there is no data on the Libre Dash, ensure the sensor is connected to the Libre 3 Plus

Dashboard and the Libre 3 Plus app is open in the background.

If you are unable to see a patient dashboard or if the patient name does not show up, flag to Terra.

If all the checks have been performed and all looks okay. We can flag it to Terra.

Ultrahuman M1 34

�� Here are the steps on how to flag cases to Terra:

1. Check the website: https://dashboard.tryterra.co/

2. Here are the login details - Email: terrasupport@ultrahuman.com | Password:

@CXTeam2025

3. Once you log in, you can click on the “Support” tab and then create a ticket.

We cannot troubleshoot expired sensors/ nearing expiry for replacement.

Sensor Ops

India (Libre 1 & Libre Pro)

Link to all India M1 Subscriptions: Shopify India > Apps > Recurpay Subscriptions App >

Subscriptions.

At present, we also offer it as a one-time purchase, which can be bought through website as a standard order. We can find these order on normal Shopify search.

Aman Qureshi from the UH Ops team handles all M1-related Ops.

BlueDart handles most Indian M1 Orders (some exceptions are there in case of remote

locations). Aman Qureshi will coordinate with them in case of any issues.

Order tracking

Open India Shopify > enter order number > click on the number highlighted for the tracking link

Ultrahuman M1 35

Subscription Management

1. To view Indian M1 Subscriptions, head to India M1 Subscriptions > enter email.

2. To pause/cancel, head to India M1 Subscriptions > enter email ID > Cancel / Pause and put a ✅ against the notification question box like this, then, click on “Cancel

Subscription” accordingly:

3. To change the next order date (usually because user has enough sensors yet to be

used, so doesn’t want more sent for a while), ask the user what date they would like to

continue and then head to INDIA M1 Subscriptions > enter email ID > click on “Change”

beside “Next Order Date” > select the date > Update Next Order Date, like this:

Ultrahuman M1 36

4. Important - Due to RBI Guidelines, when you pause or cancel a user's subscription, if the renewal date is within 24 hours of the pause/cancellation, the order might still be

placed. We handle this by informing the user when pausing/cancelling and letting them

know that we would be happy to cancel and refund the amount in case this happens.

5. Important - Any changes made to the subscription tab (concerning shipping address, contact information, and the like) will reflect on the entire subscription and will carry

forward to all future orders.

6. For the same reason, if a user requests their current month's subscription to be

delivered to a different address (for instance), find the order ID for that month and make the change to that order alone. PFA screenshot below that will help you make this

relevant change.

7. Avoid making changes to the contact details and address on the subscription ID itself. Ultrahuman M1 37

9. When users ask to cancel their subscription - we could ask them if they'd instead want to skip their subscription for the month or start at a different date. Our last resort -

cancel the subscription. Our collective goal here, naturally, is to minimise cancellations.

Push for a pause rather than a cancellation as it would be easier for the user to start

the subscription again at a later point.

Cancelling/Pausing does not stop an order that is already placed, it just halts future

orders. For example - If a user places an order on the 9th of July and requests a

cancellation of their future orders, you can cancel the subscription by following the

steps above. This would not cancel the order placed on the 9th.

Please make sure to inform the Ops team in cases where the shipment need not be

sent out/needs to be picked up.

Replacement Process

All you need to do is fill up the India M1 replacement sheet with correct details (ensure this is not left incomplete/incorrect, as Aman Qureshi manually goes and creates these orders on Shopify later).

RTO

In case of replacements, we only RTO Libre 1 sensors; We do NOT RTO the Libre Pro.

Where an Indian M1 replacement-related RTO is required, no extra steps are required;

there will be an option to mark RTO as Yes/No on the replacement entry beside the

India M1 replacement sheet under the “RTO” column.

In case of an India M1 cancellation-related RTO, ask the user for any weekday RTO

date, and add a request on #cx-ops channel tagging Aman Qureshi to RTO the sensors.

EU/UK (Libre 2)

Ultrahuman M1 38

For EU/UK M1 orders, we do have Shopify for processing orders. Users who place a one-time purchase via our website will receive an email confirmation and invoice. However, if the order is made through the app or via Apple Pay, the payment will appear on Stripe only, and no confirmation email will be sent.

Order Tracking Sheets

UK, Ireland, Switzerland orders with Arrowedge sheet

Europe Orders sheet

�� ETA - 5-7 days.

The tracking link will be updated on Shopify/sheet as per the order source.

Replacement Process

All you need to do is fill up the UK/EU replacement sheet with correct details (ensure this is not left incomplete/incorrect).

Refund/Cancellation Process

If the purchase was made via Stripe, process the refund manually.

If the user is very irate and demands a refund to the original payment source, you can

make an exception and do a Stripe refund, but only after lead approval.

If the purchase was made via Shopify, process the refund through Shopify and inform the SME or lead once done.

Common M1 UK/EU Queries/Cases

1. I placed an order for M1 sensors in London, I’ve been charged as well. Why haven’t I

received any confirmation? Has the order shipped? ( only if the purchase was made in

app)

Ultrahuman M1 39

➡️ Ask the user for the purchase email ID/ full name/ contact number. Use is

to run a search on relevant order tracking sheets: UK, Ireland, Switzerland

orders with Arrowedge sheet & the Europe Orders sheet. If it’s here, share

the order status/tracking link

If it’s not on the sheet, it means we either haven't received the order OR

Deepti S hasn’t processed it yet. In such cases, check with the folks who

have access to Stripe; They will confirm if we have received the order,

and tag you on the payment thread showing up on Slack, on #uk-europe

stripe-payments, and then you take it ahead from there, like this.

Ultrahuman M1 40

UAE (Libre 2)

Join the IQF Slack group (ask your trainer to add you).

Link to all UAE M1 Subscriptions: UAE Shopify > Apps > Recurpay Subscriptions App >

Subscriptions.

At present, we also offer it as a one-time purchase, which can be bought through our website as a standard order. We can find these order on normal Shopify search.

Violet, from the IQF team, is our POC for all UAE orders shipped in the UAE.

M1 Libre 2 sensors get shipped to our users directly from the UAE warehouse via IQF.

Order tracking

Open UAE Shopify > enter order number > click on “IQF…” for the tracking link

Replacement Process

All you need to do is fill up the UAE replacement sheet with correct details (ensure this is not left incomplete/incorrect, as someone from our team manually goes and creates these orders on Shopify later).

Subscription Management

1. To view UAE M1 Subscriptions, head to UAE M1 Subscriptions > enter email.

2. To pause/cancel, head to UAE M1 Subscriptions > enter email ID > Cancel / Pause and put a ✅ against the notification question box like this, then, click on “Cancel

Subscription” accordingly:

Ultrahuman M1 41

3. To change the next order date (usually because user has enough sensors yet to be

used, so doesn’t want more sent for a while), ask the user what date they would like to

continue and then head to UAE M1 Subscriptions > enter email ID > click on “Change”

beside “Next Order Date” > select the date > Update Next Order Date, like this:

4. Important - Due to RBI Guidelines, when you pause or cancel a user's subscription, if the renewal date with within 24 hours of the pause/cancellation, the order might still be

placed. We handle this by informing the user when pausing/cancelling and letting them

know that we would be happy to cancel and refund the amount in case this happens.

5. Important - Any changes made to the subscription tab (concerning shipping address, contact information, and the like) will reflect on the entire subscription and will carry

forward to all future orders.

6. For the same reason, if a user requests their current month's subscription to be

delivered to a different address (for instance), find the order ID for that month and make the change to that order alone. PFA screenshot below that will help you make this

relevant change.

Ultrahuman M1 42

7. Avoid making changes to the contact details and address on the subscription ID itself.

9. When users ask to cancel their subscription, we could ask them if they'd instead want to skip their subscription for the month or start at a different date. Our last resort -

cancel the subscription. Our collective goal here, naturally, is to minimise cancellations.

Push for a pause rather than a cancellation, as it would be easier for the user to

start the subscription again at a later point.

Cancelling/Pausing does not stop an order that is already placed, it just halts future

orders. For example, if a user places an order on the 9th of July and requests a

cancellation of their future orders, you can cancel the subscription by following the

steps above. This would not cancel the order placed on the 9th.

Please make sure to inform the Ops team in cases where the shipment needs not to

be sent out/needs to be picked up.

RTO

We RTO all sensors from the UAE, unless the user has thrown it away already.

Ultrahuman M1 43

Where UAE M1 cancellation-related RTO is required, flag on Slack, on

#cx_iqf_ops_support, and tag Violet like this:

Where UAE M1 replacement-related RTO is required, no extra steps required, There will

be an option to mark RTO as Yes/No on the replacement entry beside UAE replacement

sensor under “RTO Possibility”.

USA (Libre 3 Plus)

Check this FAQ page:

Ultrahuman M1 Live - FAQs

All M1 US orders are available under foundation health requests. Order IDs start with UHM.

For all cases that we flag on #ultrahuman-cx-foundation-health, use the shipment ID as a reference (always share the shipment ID as UHM is an internal identifier and FH team will not have visibility towards it) Shipment ID starts with FHS and can be found in foundation health requests > enter email > view > shipments > shipment ID.

Order flow

Payment received > (Medical form submitted) > (Telehealth reviews it) > Rejected/

Consultation created > (Shipped out and delivered) > Request completed.

�� –The TAT for a request getting rejected or accepted is usually 24 hours.

–The FHS number will only be created once the form has been accepted.

The Foundation Health Team

The team is available on Slack, on #ultrahuman-cx-foundation-health:

Abdul Akhtar> project POC and will take all non-technical queries

Ultrahuman M1 44

Rachel Ho > FH team member

What we flag to #ultrahuman-cx-foundation-health on Slack:

1) Expediting orders/replacements.

2) When the Telehealth review is stuck.

3) Prescriptions (sent via email by default, but if the user has not received it, we can

ask Rachel).

4) Order stuck in the Prescription requested state.

5) Address update. (Just to keep them in the loop)

�� Always share the FHS number with Rachel or anyone else from FH.

The UHM is an internal reference identifier, and their team will not be able to

map it on their end.

�� An FHS number is only created once the user has filled out the medical

consult form and it has been accepted.

Slack reference.

What we flag to our tech team:

Cases where the payment has come in, showing up on Stripe, but no order has

been created on the dashboard.

�� Example

Address update for a user, always flag using the UHM.

�� Example

For a change in the user's next order date/batch shipping.

Subscription management

Go to Stripe UAE > Enter the user's email/Name.

Ultrahuman M1 45

You will see the user’s subscriptions, active or otherwise.

Once you click on the subscription > Actions in the top right corner.

Depending on what the user has asked -

If they want to pause indefinitely or delay till a specific date.

Click on Pause payment collection>> Indefinite if that is the ask. Or “Custom date” and

enter the date till it is to be paused.

Ultrahuman M1 46

Or click on “Cancel subscription” if that is what the user wants.

Ultrahuman M1 47

If the user has reached out before the deduction date, we don’t have to do anything more than the steps shared above.

If the order has been created and shipped out, nothing much can be done; We will have to coordinate with the user to get the sensor picked up or let them keep it. (Take a call based on the situation)

If the order has been created but not shipped, we will have to cancel the sub > Refund > Ask HEWA not to ship the order.

If a Shipment is in transit, HEWA cannot recall it.

In any RTO case, we have to directly coordinate with the user (Labels, dropzone, doorstep, the usual way)

If the sensor is shipped to an incorrect address, we can't do much in terms of RTO.

If the user says the shipment is not received, Hewa can't help much beyond what the UPS tracking link says, we will have to give the user the benefit of the doubt and send a

replacement. Can Flag to Hewa for visibility.

�� For batch shipping requests

Flag to tech on call and ask them to create an order as per the user's request. No

need to involve Rachel or HEWA.

Sensors are shipped in batches only for the 1-year plan. If a user reaches out asking for

multiple batches to be shipped out, flag tech with the UHM and ask them to create the next order or merge the next 2 orders.

The next order creation dates are visible on the user's profile; You can ask tech to change the dates if need be, as per the user's request.

�� Example thread.

Ultrahuman M1 48

If Rachel says she is unable to find the FHS ID (marked in red) on her end, you can share the FH order ID (Marked in Yellow). Either way, for Batch shipping date management, it is primarily managed from our end. Nothing much FH can do.

Replacement Process

M1 replacement flow for US orders is automated on the OMS (previously, someone

from our team would manually create Stripe orders once the entries were put in the

M1_US replacement sheet)

Going forward, all of us will process replacements directly on the OMS just like how we

do ring replacements.

Steps to do this:

Replacement Sensor

1. Please initiate a replacement by going to Dash → Foundation Health Requests,

searching for the user’s email address, opening the corresponding order, and

selecting Replace Sensor.

If you CANNOT create replacement via the above process.

Ultrahuman M1 49

Please follow operational workaround below:

1. Email to: hewa-ultrahuman-support@healthwarehouse.com (this is a dedicated

mailbox for ultrahuman and healthwarehouse)

2. Cc: support@foundationhealth.com (very important so we have visibility and there

are no issues with billing etc)

3. Subject: Ultrahuman replacement sensor

4. Email body:

FHS ID:

How many sensors to send:

Name of recipient:

DOB of recipient:

Address of recipient:

Reason for replacement:

Hewa warehouse will email back and with tracking number.

Order Cancellation: Please cancel the order via API.

Any other issues: Please contact the Foundation Health team via our shared slack

channel and we will provide support.

�� The dash will only let us replace as many sensors as the user has purchased.

If you can't process a replacement. We can follow the operational workaround

as mentioned. (Supposing they have purchased 2 sensors, both faulty, we will

not be able to process the next replacement).

Tags

M1_US_Prescription - For questions around their prescription request.

M1_US_Techissue - For tech issues/ app not working / unable to link sensor.

M1_US_Faq - For M1 US-specific enquiries.

Ultrahuman M1 50

Refund/Cancellation Process

Since the purchase was made via Stripe, process the refund manually.

If the user is very irate and demands a refund to the original payment source, you can

make an exception and do a Stripe refund, but only after lead approval.

If the refund is processed manually, no need to fill the sheet. If it is done via stripe,

please fill the refund sheet.

Common M1 US Queries/Cases (please review in detail)

1. This user ordered M1-live 3 months thinking that they would split the sensors with their husband, but did not know that they would have to get approved by MD individually for

the subscription.

https://ultrahumanworkspace.slack.com/archives/C06JHEUS43H/p1714345635635349

2. The user has requested a refund against the balance sensors (partial refund).

https://ultrahumanworkspace.slack.com/archives/C06JHEUS43H/p1712463054149229

3. This is a monthly recurring subscription order that came through on 21st March

however, the order status says “order_pending”.

https://ultrahumanworkspace.slack.com/archives/C06JHEUS43H/p1711806288026569

4. Order created, but not shipped, and seeing a delay.

https://ultrahumanworkspace.slack.com/archives/C06JHEUS43H/p1714448230186519

RTO

Where RTO is required, check with users if USPS dropzone pickup works for them and

flag to Moin on #int_shipments_rto for the return shipping labels.

Share labels with the user once ready.

HEWA

Foundation Health’s fulfillment/ pharmacy partners. (hewa-ultrahuman

support@healthwarehouse.com)

Things we can flag to them

No update in the tracking link.

The shipment is stuck.

Expediting (Can tell Rachel as well)

If an order has been refunded and does not need to be shipped.

The FHS ID, along with the user's email ID, can be shared with them.

Ultrahuman M1 51

�� Please follow the SOP below to send an email to HEWA:

Send an email to hewa-ultrahuman-support@healthwarehouse.com

(Ultrahuman × HealthWarehouse mailbox) and cc:

support@foundationhealth.com

(for visibility and to avoid billing issues). In the email, clearly state whether the

order is on hold, needs to be expedited, or is canceled.

Address update:

Any sort of Address update is to be done on our end by flagging the UHM/FHS number to Tech on call, along with the new address. We can let HEWA and Rachel know as well.

The address is always pulled from our side, so it has to be updated with us first.

For last-minute address changes (If the order is not shipped out), let's email Hewa and also get the address updated by tech.

HEWA can't help if there is an address change if the sensor is in Transit. The only option would be to send another sensor to the updated address.

Unique cases

1) The user might reach out saying they have paid, but have not received any confirmation or anything of that sort.

�� Example 1

Example 2

Here, the user has not filled the TF, hence there are no more details for them, and the

status just says “Payment received”.

Ultrahuman M1 52

If it’s paid but no TF filled, send the unique link (highlighted) to the user and ask them to fill it out. Please bear in mind that this link is unique to each user; ensure the link pertaining to that specific user is being shared with them.

2) Here, the user's status says ‘Review in process’ since August 22nd, which has to be

flagged on the Slack channel.

Tech Issues Revision

�� If a user is not able to see readings in the app, glance at stints and see what time

the last reading came in WRT the user's timezone. Check the Libre View Dash

(Discussed previously).

�� The data on stints is shown as per the user's local time.

Ultrahuman M1 53

�� The calibration process remains the same. The only difference is that the user will

have to compare the readings after 40 minutes.

20-minute interstitial lag + 20-minute lag for the data to flow in from the Libre 3

app to our app.

�� There will be no States seen for Libre 3 Plus sensors, as these need not be

scanned directly with our app.

�� Users can use externally procured Libre 3 Plus sensors with our app, no Lite

subscription needed.

Misc

If the user has placed a 3-month order, they can't place a fresh one for the next 3 months (with the same email). This is applicable to any type of order. If it is a one-month order,

they will not be able to place another order for a month.

�� Governing law in the US: If you have an active prescription, you cannot place

another order.

They can use an alternate email ID in this case, but that is on them. This is not something we recommend or suggest, or mention in any way.

M1 Lite

Ultrahuman M1 54

�� The Ultrahuman M1 Lite is a subscription plan offered by Ultrahuman that allows users to integrate their own compatible Abbott FreeStyle Libre CGM (Continuous Glucose

Monitoring) sensors with the Ultrahuman app.

This plan is particularly beneficial for individuals who already have access to Abbott

sensors and wish to leverage Ultrahuman's advanced metabolic tracking features

without purchasing the full M1 package.

�� Key Features of M1 Lite

Bring Your Own Sensor: Utilize your existing (compatible) Abbott FreeStyle Libre sensors with the Ultrahuman platform.

Advanced Metabolic Insights: Access detailed metrics such as:

Metabolic Score: A comprehensive assessment of your metabolic health.

Food Score: Evaluates how different foods impact your glucose levels.

Glucose Trends: Monitor glucose fluctuations throughout the day.

Personalized Nudges: Receive actionable recommendations based on your data.

Integration with Ultrahuman Ring AIR: Combine CGM data with metrics like sleep quality, heart rate variability (HRV), and recovery for a holistic view of your health.

�� Regional Compatibility

Ultrahuman Lite is live in all regions. The compatibility of the Ultrahuman M1 Lite with Abbott sensors varies by region due to regulatory differences:

India: Supports FreeStyle Libre and Libre Pro sensors.

Europe: Currently compatible with FreeStyle Libre 2 sensors. Libre 3 Plus sensors are not yet supported in this region.

USA: Supports FreeStyle Libre 3 Plus sensors.

�� It's important to note that users in certain regions may encounter limitations when

attempting to pair unsupported sensors with the Ultrahuman app. For instance, a user

in Germany reported difficulties connecting a Libre 3 Plus sensor, as the app

currently supports only Libre 2 sensors in Europe.

Link to all M1 Lite Subscriptions:

https://ops.ultrahuman.com/admin/uh_lite_subscriptions

Ultrahuman M1 55

�� Ideal For

Existing CGM Users: Individuals who already use compatible CGM devices and seek to enhance their data interpretation through Ultrahuman's platform.

Cost-Conscious Users: Those looking to benefit from Ultrahuman's insights without

purchasing additional hardware.

Data Enthusiasts: Users interested in a deeper understanding of their metabolic health

through advanced analytics.

⚡ Activation

1. When a user scans an external sensor on the metabolism tab, they will get a pop-up like this.

1. If a user is using an external sensor with our app for the first time, they get a 14-day free trial (if they don’t have this option, we can always activate it for them). Post the trial period, they would need to subscribe to UH M1 Lite if they want to continue using the app with an external sensor.

2. M1 Lite users can access:

App-related support.

The digital subscription and access to app content are free for these users.

Ultrahuman M1 56

However, no glucometers, Ultrahuman patches, or M1 replacements are to be issued to

these users.

�� Subscriptions

1. If you want to cross-check if the user has an active Live subscription:

Ask them for their purchase email ID of the subscription.

Head to Internal → UH Lite subscriptions → Enter their email ID

This will give you a view of whether their subscription is active or not and the validity.

2. To activate a M1 Lite subscription:

We can activate new subscriptions for users once they have made the payment by

clicking on “New Uh Lite subscription” > enter info

Add Payment reference under “Remarks”

Ensure you mark ✅ beside Active (if you don’t, the subscription won’t get activated)

Ultrahuman M1 57

�� Identification

1. How do we identify if a user is using an external sensor?

Ops Dashboard → Internal → CGM Sensor Inventories.

If CGM Sensor Inventories says “YES” under internal sensor, it means the user is using

an Ultrahuman M1 sensor.

If it says “NO” under internal sensor → it means the user is using a 3rd party / external

sensor which is NOT procured by Ultrahuman.

2. In case the user is using a 3rd party sensor and is on the free trial of the UH Lite

subscription, the user_access type will be “FREE Trial” in CGM Stints.

3. Post the 14-day trial period, the user_access type will come up as “Locked” in CGM Stints.

Ultrahuman M1 58

4. If a user insists that the sensor has been purchased from us, ask for their purchase details and validate it with the CX folks who have access to payment gateways. We can also ask on Slack #cx-team-internal.

If confirmed that it is an Ultrahuman sensor, we can go ahead and Mark the sensor as M1 live

(also referred to as “whitelisting stint” for that particular stint under CGM Stints > Edit.

Please note that we should only do this for the current stint/sensor that they are using

5. Incase it was purchased in-app in the UK/EU region, we cannot verify if the sensors are internal or external. For such users, request the purchase email/contact number, validate the purchase on either payment gateway, and whitelist the stint accordingly.

�� Pricing

Ultrahuman M1 59

�� Refund/ Cancellation Process

iOS

For subscription cancellations, on your iPhone or iPad

1. Open the Settings app.

2. Tap your name.

3. Tap Subscriptions.

4. Tap the Lite Subscription.

5. Tap Cancel Subscription.

For refunds, Apple handles all refunds. They can request a refund using this link -

https://support.apple.com/en-in/HT204084.. The refund will be issued on a pro-rata

basis depending on the number of months left on the current subscription.

Android

1. Go to play.google.com.

2. At the top right, click your Profile picture.

3. Click Payments & subscriptions. ...

4. For the order you want to return, click Report a problem.

5. Select the option that describes your situation.

6. Complete the form and note that you'd like a refund.

7. Click Submit.

Ultrahuman M1 60

�� If we’re refunding M1 Lite Subscriptions via the Bank Transfer option, let's ask the

user to first cancel Lite from the App Store/ Play Store, then process a refund via

Bank Transfer/ PayPal.

��  Common Queries/ Cases

1. When the app throws an error of “Your purchase is in progress ⚠️” for a very long time.

In a scenario where the users are not able to purchase the subscription and the app

throws a similar error as below ask the CX team to create a payment link (yearly or

monthly) → share with the user → ask him for a payment successful screenshot and

the email ID on which the user wants the UH Lite subscription to be active on →

activate it using the above mentioned steps.

�� Please do not Whitelist the user in such cases, as the benefits of whitelisting the user

vs the benefits of Ultrahuman Lite are completely different.

️  Tags

m1_lite_enquiry - Users who get the m1 lite pop-up and enquire, also for all general queries

around externally procured sensors.

m1_lite_activation - When activating M1 Lite.

m1_lite_refund - When refunding/cancelling M1 Lite.

m1_lite_3p_whitelist_stint - 3rd party sensor and whitelisted stint-wise (but not marked internal). m1_lite_3p_whitelist_user - 3rd party sensor and whitelisted user-wise (use with caution).

Ultrahuman M1 61

m1_lite_3p_no_action - 3rd party sensor, but we are not whitelisting.

m1_lite_internal_whitelist_stint - Internal sensor, whitelisted stint-wise (once marked as internal).

m1_lite_unsure_source - User claims an internal sensor, and we could not confirm, flag to the

relevant POC (ideally should be used very, very rarely, if at all).

Ultrahuman M1 62